## Data Summary
QC5 Effective gain
Username: | Shivali & Mohit | QC5 Template | V2 |  | Environment |  |  |  |  | For Measuring Rate |  |  |  | For Measuring Current
Amplifier Settings |  | Date | 2018-04-05 |  | Vmon | Imon | Time | Pressure | Temp | Source Off |  | Source On |  | Source Off |  | Source On
[10 empty] | Counts | Err | Counts | Err | Current | Err | Current | Err
Make & Model: | ORTEC TFA 474 |  |  |  | (V) | (uA) | (HH:MM) | (mbar) | (Deg C) | (N) | (N) | (N) | (N) | (A) | (A) | (A) | (A)
Coarse Gain: | 4 |  |  | Ar/CO2:70/30 Range | 3507 | 700 | 16:45 | 972 | 22 | 177 | 13.3041 | 105790 | 325.2537 | -6.3044e-11 | 1.0258e-11 | -2.6209e-09 | 3.753e-10
Fine Gain: | 4.5 |  |  |  | 3456.9 | 690 | 16:55 | 972 | 22 | 192 | 13.8564 | 106418 | 326.2177 | -4.7483e-11 | 1.5713e-11 | -1.9387e-09 | 4.0624e-10
Diff Time (ns): | 100 |  |  |  | 3406.8 | 680 | 17:05 | 972 | 22 | 124 | 11.1355 | 105716 | 325.14 | -3.6006e-11 | 8.0255e-12 | -1.2491e-09 | 2.1142e-10
Int Time (ns): | 100 |  |  |  | 3356.7 | 670 | 17:10 | 972 | 22 | 107 | 10.3441 | 103414 | 321.5805 | -3.1639e-11 | 6.0058e-12 | -9.0858e-10 | 1.8024e-10
Detector Settings |  |  |  |  | 3306.6 | 660 | 17:17 | 972 | 22 | 66 | 8.124 | 97032 | 311.4996 | -1.6881e-11 | 7.3643e-12 | -6.6112e-10 | 1.2554e-10
[5 empty] | 3256.5 | 650 | 17:23 | 972 | 22 | 56 | 7.4833 | 85845 | 292.9932 | -6.5341e-12 | 5.5726e-12 | -4.6077e-10 | 1.0354e-10
Serial Number: | 3 |  |  |  | 3206.4 | 640 | 17:30 | 972 | 22 | 35 | 5.9161 | 48470 | 220.159 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Position (ieta,iphi): | 4,2 |  |  |  | 3156.3 | 630 | 17:36 | 972 | 22 | 32 | 5.6569 | 36229 | 190.3392 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Gas (X/Y/Z): | Ar/CO2 |  |  |  | 3106.2 | 620 | 17:43 | 972 | 22 | 16 | 4 | 19404 | 139.2982 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Gas Frac (%X/%Y/%Z): | 70/30 |  |  |  | 3056.1 | 610 | 17:50 | 972 | 22 | 21 | 4.5826 | 4503 | 67.1044 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Flow Rate (L/hr): | 5 |  |  |  | 3006 | 600 | 18:50 | 972 | 22 | 21 | 4.5826 |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
HV Circuit R_Equiv (MOhm): | 5.01 |  |  |  | 2955.9 | 590 | 19:50 | 972 | 22 | 21 | 4.5826 |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Total HV Divider R (MOhm): | 4.7 |  |  |  | 2905.8 | 580 | 20:50 | 972 | 22 | 21 | 4.5826 |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
R_Drift (MOhm): | 1.121 |  |  |  | 2855.7 | 570 | 21:50 | 972 | 22 | 21 | 4.5826 |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
R_GEM1 (MOhm): | 0.561 |  |  |  | 2805.6 | 560 | 22:50 | 972 | 22 | 21 | 4.5826 |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
R_Transfer1 (MOhm): | 0.437 |  |  |  | 2755.5 | 550 | 23:50 | 972 | 22 | 21 | 4.5826 |  | 0 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
R_GEM2 (MOhm): | 0.549
R_Transfer2 (MOhm): | 0.873 |  |  |  |  | Fe55 | Cd109 | Cu X-Ray
R_GEM3 (MOhm): | 0.524 |  |  | N_primary | 346 | 196 | 322 | 346 | Electron Charge |  | 1.602e-19
R_Induction (MOhm): | 0.624 |  |  | Sigma N_primary | 2.9 | 1.8 | 2.8 | 2.9
Discriminator Settings |  |  |  | After T/P Corrections
Make & Model: | ORTEC CFD 935 |  |  | Imon Equiv | V_mon | V_Drift | Rate | Rate Err | Current | Current Err | Gain | Gain Err
Threshold (mV): | -140 |  |  | (uA) | (V) | (V) | (Hz) | (Hz) | (A) | (A) | (A.U.) | (A.U.)
Walk Adjust (mV): | Enter value |  |  | 689.9683 | 3456.741 | 3196.3773 | 1760.2167 | 5.4254 | -2.5578e-09 | 3.7544e-10 | 26216.1096 | 3855.0999
Width (ns): | Enter value |  |  | 680.1116 | 3407.359 | 3150.7148 | 1770.4333 | 5.4419 | -1.8912e-09 | 4.0654e-10 | 19383.8546 | 4170.3744
Picoammeter Settings |  |  |  | 670.2549 | 3357.977 | 3105.0523 | 1759.8667 | 5.4222 | -1.2131e-09 | 2.1157e-10 | 12433.6105 | 2171.3078
|  |  |  | 660.3982 | 3308.5949 | 3059.3897 | 1721.7833 | 5.3624 | -8.7694e-10 | 1.8034e-10 | 8988.0796 | 1850.1305
Make & Model: | Keithley 6517B |  |  | 650.5415 | 3259.2129 | 3013.7272 | 1616.1 | 5.1934 | -6.4424e-10 | 1.2576e-10 | 6603.0425 | 1290.3109
Triax Red: | Live |  |  | 640.6848 | 3209.8309 | 2968.0647 | 1429.8167 | 4.8848 | -4.5424e-10 | 1.0369e-10 | 4655.6313 | 1063.5416
Triax Black: | Ground |  |  | 630.8281 | 3160.4489 | 2922.4021 | 807.25 | 3.6706 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Triax Green: | Earth |  |  | 620.9714 | 3111.0669 | 2876.7396 | 603.2833 | 3.1737 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Scalar Settings |  |  |  | 611.1147 | 3061.6849 | 2831.0771 | 323.1333 | 2.3226 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 601.2581 | 3012.3029 | 2785.4145 | 74.7 | 1.121 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 591.4014 | 2962.9208 | 2739.752 | -0.35 | 0.076376 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Make & Model: | CAEN N1145 |  |  | 581.5447 | 2913.5388 | 2694.0895 | -0.35 | 0.076376 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Acquisition Time (s): | 60 |  |  | 571.688 | 2864.1568 | 2648.4269 | -0.35 | 0.076376 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Source Settings |  |  |  | 561.8313 | 2814.7748 | 2602.7644 | -0.35 | 0.076376 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
|  |  |  | 551.9746 | 2765.3928 | 2557.1019 | -0.35 | 0.076376 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
Source: | X-ray |  |  | 542.1179 | 2716.0108 | 2511.4393 | -0.35 | 0.076376 | #DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
HV (kV): | 40
Current (uA): | 5 |  |  | Summary |  |  | Correction parameters (P5) |  |  |  | For Ana. Framwork
Activity (MBq): | Enter value |  |  | Avrg temperature (C) | 295.15 |  | P0 | 964.4 |  |  | 689.968259706657,26216.1096409352,3855.09987243173
Filter Status: | 5 Cu Tapes |  |  | Err temperature (C) | 0 |  | T0 | 297.1 |  |  | 680.111570282276,19383.8545563076,4170.37440213433
Collimator Status: | NO |  |  | Avrg pressure (mbar) | 972 | [5 empty] | 670.254880857895,12433.6104519414,2171.30777628755
|  |  |  | Err pressure (mbar) | 0 | [5 empty] | 660.398191433514,8988.07959816371,1850.13045391523
|  |  |  | Expo_fit_1_param_1 | #VALUE! | [5 empty] | 650.541502009133,6603.04251226715,1290.31087187436
|  |  |  | Expo_fit_1_param_2 | #VALUE! | [5 empty] | 640.684812584753,4655.63127430593,1063.54164996135
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!
#DIV/0!

## 550uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 560uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 570uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 580uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 590uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 600uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 610uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 620uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 630uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 640uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 650uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
-6.5341e-12 | 5.5726e-12 | -4.6077e-10 | 1.0354e-10
GEMs On |  | GEMs On
-1.7158e-11 | 0.0040002 | -5.3368e-10 | 0.0040002
-5.8621e-12 | 0.518 | -3.3564e-10 | 0.923
5.3052e-12 | 1.058 | -3.7923e-10 | 1.623
-2.0602e-12 | 1.758 | -5.1172e-10 | 2.324
-5.3354e-12 | 2.458 | -6.1809e-10 | 3.023
5.5671e-13 | 3.158 | -4.4292e-10 | 3.723
-6.2e-15 | 3.858 | -6.9455e-10 | 4.423
1.3065e-13 | 4.558 | -4.4149e-10 | 5.124
1.7825e-12 | 5.258 | -5.689e-10 | 5.824
-5.3384e-12 | 5.958 | -5.7758e-10 | 6.524
1.3277e-12 | 6.658 | -4.2499e-10 | 7.224
-8.2597e-12 | 7.359 | -3.5171e-10 | 7.924
-1.6386e-12 | 8.059 | -6.1934e-10 | 8.624
-6.234e-12 | 8.759 | -3.4585e-10 | 9.324
-5.3923e-12 | 9.459 | -3.8232e-10 | 10.024
-9.0115e-12 | 10.159 | -4.519e-10 | 10.724
-3.2956e-12 | 10.859 | -6.4825e-10 | 11.424
-1.915e-13 | 11.559 | -4.3604e-10 | 12.125
-7.5455e-12 | 12.259 | -5.0597e-10 | 12.825
-1.5469e-12 | 12.959 | -5.8854e-10 | 13.525
-4.8444e-12 | 13.659 | -5.15e-10 | 14.224
-2.2087e-12 | 14.359 | -4.3577e-10 | 14.925
-2.9652e-12 | 15.059 | -4.6691e-10 | 15.625
-5.2325e-12 | 15.759 | -6.1655e-10 | 16.325
-1.0981e-11 | 16.459 | -2.3047e-10 | 17.025
-1.2208e-11 | 17.16 | -5.4502e-10 | 17.725
-1.1289e-11 | 17.86 | -4.8552e-10 | 18.426
-4.0616e-12 | 18.56 | -4.3244e-10 | 19.125
-5.3498e-12 | 19.26 | -3.1116e-10 | 19.826
-1.624e-12 | 19.96 | -4.5635e-10 | 20.525
-2.3016e-12 | 20.66 | -3.7263e-10 | 21.226
-8.8579e-12 | 21.36 | -5.7274e-10 | 21.925
-1.439e-11 | 22.06 | -3.4442e-10 | 22.626
-1.8984e-12 | 22.76 | -5.7336e-10 | 23.326
-1.0012e-11 | 23.46 | -5.1916e-10 | 24.026
-1.2233e-11 | 24.16 | -5.0515e-10 | 24.726
-7.1523e-12 | 24.86 | -3.6276e-10 | 25.426
-1.0594e-11 | 25.56 | -6.073e-10 | 26.126
1.0784e-12 | 26.26 | -2.7771e-10 | 26.826
-1.5651e-12 | 26.961 | -5.1607e-10 | 27.527
-1.7481e-11 | 27.661 | -2.9804e-10 | 28.226
-7.1847e-12 | 28.361 | -4.725e-10 | 28.926
-1.4471e-12 | 29.061 | -4.7731e-10 | 29.626
-5.925e-12 | 29.761 | -5.032e-10 | 30.327
2.5741e-12 | 30.461 | -4.4753e-10 | 31.027
-4.8336e-12 | 31.161 | -4.1462e-10 | 31.726
-6.2486e-12 | 31.861 | -3.6801e-10 | 32.427
-8.816e-12 | 32.561 | -2.7715e-10 | 33.127
-1.4273e-11 | 33.261 | -4.1445e-10 | 33.827
-1.0462e-11 | 33.961 | -5.8422e-10 | 34.527
-4.4888e-12 | 34.661 | -4.6124e-10 | 35.227
-9.5786e-12 | 35.362 | -5.8372e-10 | 35.927
-1.0236e-11 | 36.061 | -3.3701e-10 | 36.627
-8.6784e-12 | 36.762 | -3.7697e-10 | 37.327
-8.2898e-12 | 37.461 | -6.5342e-10 | 38.027
-9.2287e-13 | 38.162 | -3.7682e-10 | 38.728
-1.5166e-11 | 38.862 | -4.9635e-10 | 39.427
-5.5026e-12 | 39.562 | -3.1734e-10 | 40.128
1.1851e-11 | 40.262 | -4.7057e-10 | 40.827
3.1793e-12 | 40.962 | -4.0065e-10 | 41.528
-1.9899e-11 | 41.662 | -4.2531e-10 | 42.228
-1.6615e-11 | 42.362 | -5.174e-10 | 42.928
5.3821e-12 | 43.062 | -3.8792e-10 | 43.628
-8.1463e-12 | 43.762 | -2.9701e-10 | 44.328
-8.5917e-13 | 44.462 | -4.9165e-10 | 45.028
-6.7811e-12 | 45.162 | -4.3453e-10 | 45.728
-4.3713e-12 | 45.863 | -5.3299e-10 | 46.428
-8.9204e-12 | 46.562 | -4.6985e-10 | 47.128
-8.0982e-12 | 47.263 | -5.7304e-10 | 47.828
-3.8419e-12 | 47.963 | -3.6611e-10 | 48.528
-6.9508e-12 | 48.663 | -5.5706e-10 | 49.229
3.5357e-13 | 49.363 | -5.143e-10 | 49.929
4.7988e-13 | 50.063 | -5.4402e-10 | 50.628
-4.7674e-12 | 50.763 | -4.86e-10 | 51.329
-7.8125e-12 | 51.463 | -3.1633e-10 | 52.029
-4.2098e-12 | 52.164 | -4.4228e-10 | 52.729
-3.7911e-12 | 52.863 | -4.7173e-10 | 53.43
-1.2777e-11 | 53.564 | -3.548e-10 | 54.129
-4.07e-12 | 54.264 | -3.9388e-10 | 54.829
-8.3604e-12 | 54.963 | -4.0661e-10 | 55.529
-1.0441e-11 | 55.664 | -3.5002e-10 | 56.23
-1.7389e-12 | 56.364 | -4.0506e-10 | 56.929
-7.3341e-12 | 57.064 | -4.3085e-10 | 57.61
-7.9881e-12 | 57.764 | -4.8003e-10 | 58.31
-9.9418e-12 | 58.464 | -4.4935e-10 | 59.009
-1.227e-11 | 59.164 | -6.117e-10 | 59.71
-8.1328e-12 | 59.864 | -3.5239e-10 | 60.41
-1.3005e-11 | 60.564 | -4.3985e-10 | 61.11
-1.1058e-11 | 61.264 | -6.2644e-10 | 61.81
-6.5799e-12 | 61.965 | -2.7308e-10 | 62.51
-1.6245e-11 | 62.664 | -7.004e-10 | 63.21
-1.2209e-11 | 63.364 | -5.7997e-10 | 63.91
-1.4109e-11 | 64.065 | -5.141e-10 | 64.61
-4.9418e-12 | 64.765 | -4.3338e-10 | 65.311
-9.9145e-12 | 65.465 | -3.4564e-10 | 66.01
-1.2452e-11 | 66.165 | -3.4883e-10 | 66.71
-1.0279e-11 | 66.865 | -5.3234e-10 | 67.41
-7.8886e-12 | 67.565 | -5.7653e-10 | 68.111
-1.2603e-11 | 68.265 | -6.058e-10 | 68.811
-1.1561e-11 | 68.965 | -5.0801e-10 | 69.511
-1.4799e-11 | 69.665 | -3.2031e-10 | 70.21
|  | -3.9551e-10 | 70.911

## 660uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
-1.6881e-11 | 7.3643e-12 | -6.6112e-10 | 1.2554e-10
GEMs On |  | GEMs On
-3.2961e-11 | 0.0040002 | -7.0069e-10 | 0.0040002
-2.3786e-11 | 0.395 | -6.8744e-10 | 0.922
-2.5575e-11 | 1.175 | -8.6094e-10 | 1.622
-2.4203e-11 | 1.955 | -6.0656e-10 | 2.322
-2.3978e-11 | 2.735 | -5.3875e-10 | 3.022
-2.0215e-11 | 3.495 | -5.2791e-10 | 3.722
-2.6736e-11 | 4.035 | -7.4253e-10 | 4.423
-2.2865e-11 | 4.975 | -5.9451e-10 | 5.122
-2.3458e-11 | 5.736 | -7.4308e-10 | 5.822
-2.3745e-11 | 6.516 | -6.9673e-10 | 6.522
-2.1803e-11 | 7.275 | -7.4851e-10 | 7.223
-2.5556e-11 | 8.056 | -7.1186e-10 | 7.923
-2.5098e-11 | 8.836 | -6.2364e-10 | 8.622
-2.1522e-11 | 9.376 | -5.8905e-10 | 9.323
-2.0888e-11 | 10.316 | -5.5446e-10 | 10.023
-2.366e-11 | 11.096 | -7.0034e-10 | 10.723
-2.2234e-11 | 11.876 | -6.5011e-10 | 11.423
-2.1529e-11 | 12.656 | -6.664e-10 | 12.123
-2.1757e-11 | 13.436 | -6.5171e-10 | 12.823
-2.3508e-11 | 14.216 | -7.8708e-10 | 13.524
-2.5848e-11 | 14.996 | -6.5191e-10 | 14.224
-2.491e-11 | 15.776 | -5.8887e-10 | 14.923
-2.2809e-11 | 16.556 | -6.9544e-10 | 15.623
-3.159e-11 | 17.336 | -4.4875e-10 | 16.324
-2.0279e-11 | 18.097 | -7.1557e-10 | 17.024
-2.4852e-11 | 18.876 | -4.2387e-10 | 17.724
-2.0183e-11 | 19.657 | -5.7097e-10 | 18.424
-5.7369e-13 | 20.317 | -7.0838e-10 | 19.124
-5.5667e-12 | 20.897 | -6.0705e-10 | 19.824
-6.2356e-12 | 21.597 | -7.1245e-10 | 20.524
-3.533e-12 | 22.297 | -4.5557e-10 | 21.224
-6.1762e-13 | 22.997 | -8.9062e-10 | 21.924
-6.8179e-12 | 23.697 | -5.4787e-10 | 22.625
-1.0873e-11 | 24.397 | -5.8183e-10 | 23.324
-1.2784e-11 | 25.097 | -5.0442e-10 | 24.025
-9.4919e-12 | 25.797 | -7.593e-10 | 24.724
-1.022e-11 | 26.498 | -7.3218e-10 | 25.425
-1.0583e-11 | 27.198 | -7.8167e-10 | 26.125
-1.7229e-11 | 27.898 | -7.1776e-10 | 26.824
-7.2207e-12 | 28.598 | -8.6809e-10 | 27.524
-1.5885e-11 | 29.298 | -6.2385e-10 | 28.224
-5.6792e-12 | 29.998 | -9.0887e-10 | 28.925
-1.1388e-11 | 30.698 | -6.5771e-10 | 29.625
-2.4264e-11 | 31.398 | -6.1426e-10 | 30.325
-2.0575e-11 | 32.218 | -8.5146e-10 | 31.025
-9.7032e-12 | 32.918 | -8.1505e-10 | 31.725
-1.5956e-11 | 33.498 | -6.9696e-10 | 32.425
-2.5487e-11 | 34.198 | -7.8523e-10 | 33.126
-2.4682e-11 | 35.019 | -5.0372e-10 | 33.825
-2.1356e-11 | 35.818 | -5.7162e-10 | 34.525
-2.2297e-11 | 36.359 | -8.5877e-10 | 35.226
-2.0581e-11 | 37.299 | -4.1453e-10 | 35.926
-2.3237e-11 | 37.839 | -6.489e-10 | 36.626
-2.1198e-11 | 38.539 | -5.2347e-10 | 37.326
-2.1989e-11 | 39.239 | -6.4765e-10 | 38.026
-2.0831e-11 | 40.179 | -3.9285e-10 | 38.726
-1.945e-11 | 40.839 | -4.2181e-10 | 39.426
-1.7975e-11 | 41.419 | -6.2363e-10 | 40.126
-2.6937e-11 | 42.119 | -7.0865e-10 | 40.826
-2.5605e-11 | 42.94 | -7.191e-10 | 41.526
-2.0956e-11 | 43.519 | -5.8768e-10 | 42.226
-1.5977e-11 | 44.339 | -8.1203e-10 | 42.927
-1.5991e-11 | 44.919 | -6.493e-10 | 43.626
-1.9573e-11 | 45.62 | -6.6148e-10 | 44.327
-2.6234e-11 | 46.32 | -6.6796e-10 | 45.026
-2.0889e-11 | 47.14 | -6.9883e-10 | 45.727
-2.3757e-11 | 47.96 | -8.9295e-10 | 46.427
-2.2773e-11 | 48.72 | -8.6178e-10 | 47.127
-2.0539e-11 | 49.5 | -6.6608e-10 | 47.827
-2.4224e-11 | 50.28 | -7.0844e-10 | 48.527
-2.2444e-11 | 51.06 | -5.0691e-10 | 49.227
-2.3021e-11 | 51.84 | -7.3864e-10 | 49.927
-2.3009e-11 | 52.62 | -5.7969e-10 | 50.627
-1.9944e-11 | 53.401 | -5.0791e-10 | 51.327
-9.5764e-12 | 54.06 | -6.1931e-10 | 52.028
-9.5964e-12 | 54.641 | -5.805e-10 | 52.728
-6.8202e-12 | 55.341 | -5.6557e-10 | 53.428
-1.1532e-11 | 56.041 | -6.5635e-10 | 54.128
-1.4195e-11 | 56.741 | -5.9676e-10 | 54.828
-9.8121e-12 | 57.441 | -6.9476e-10 | 55.528
-7.6532e-12 | 58.141 | -9.2924e-10 | 56.228
-7.2094e-12 | 58.841 | -6.0586e-10 | 56.928
-8.7164e-12 | 59.541 | -7.2857e-10 | 57.628
-1.0724e-11 | 60.241 | -3.8477e-10 | 58.328
-1.7485e-11 | 60.941 | -6.0668e-10 | 59.028
-1.2298e-11 | 61.641 | -6.3233e-10 | 59.728
-1.0103e-11 | 62.341 | -1.0519e-09 | 60.429
-1.296e-11 | 63.042 | -6.1815e-10 | 61.128
-8.2382e-12 | 63.742 | -6.7135e-10 | 61.829
-1.0328e-11 | 64.442 | -6.8778e-10 | 62.529
-1.1062e-11 | 65.142 | -7.8193e-10 | 63.229
-4.6059e-12 | 65.842 | -5.1036e-10 | 63.929
-4.3515e-12 | 66.542 | -9.15e-10 | 64.629
-4.9365e-12 | 67.242 | -5.5036e-10 | 65.309
-1.3469e-11 | 67.942 | -5.6416e-10 | 66.009
-1.4533e-11 | 68.642 | -6.4437e-10 | 66.709
-1.2073e-11 | 69.342 | -5.3572e-10 | 67.409
-1.2033e-11 | 70.043 | -5.9215e-10 | 68.109
-1.585e-11 | 70.742 | -5.5754e-10 | 68.809
-8.0518e-12 | 71.442 | -7.5494e-10 | 69.509
-1.012e-11 | 72.142 | -6.9579e-10 | 70.209
-7.982e-12 | 72.843 | -7.4364e-10 | 70.909
-8.7603e-12 | 73.542 | -7.7891e-10 | 71.61
-1.2644e-11 | 74.242 | -6.2936e-10 | 72.31
-2.0318e-11 | 74.943
-1.9689e-11 | 75.643

## 670uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
-3.1639e-11 | 6.0058e-12 | -9.0858e-10 | 1.8024e-10
GEMs On |  | GEMs On
-3.4442e-11 | 0.0029998 | -7.5143e-10 | 0.0029998
-2.6744e-11 | 0.74 | -9.2399e-10 | 0.916
-4.0084e-11 | 1.28 | -8.5447e-10 | 1.617
-3.2468e-11 | 2.2 | -7.0815e-10 | 2.317
-3.6658e-11 | 2.96 | -7.1419e-10 | 3.017
-3.424e-11 | 3.721 | -8.7442e-10 | 3.717
-3.5986e-11 | 4.481 | -1.0299e-09 | 4.417
-3.622e-11 | 5.241 | -9.8147e-10 | 5.117
-3.5461e-11 | 6.001 | -9.8518e-10 | 5.817
-3.655e-11 | 6.761 | -5.6261e-10 | 6.517
-3.2671e-11 | 7.521 | -6.3664e-10 | 7.217
-3.4656e-11 | 8.281 | -1.0219e-09 | 7.917
-3.153e-11 | 9.041 | -1.0725e-09 | 8.618
-3.7896e-11 | 9.801 | -8.2176e-10 | 9.318
-3.71e-11 | 10.561 | -1.2191e-09 | 10.017
-2.0827e-11 | 11.321 | -7.9327e-10 | 10.718
-2.3889e-11 | 11.861 | -1.3114e-09 | 11.418
-2.3812e-11 | 12.561 | -7.7098e-10 | 12.117
-2.1259e-11 | 13.261 | -9.0838e-10 | 12.818
-2.5071e-11 | 13.962 | -1.0019e-09 | 13.518
-2.1582e-11 | 14.662 | -7.9123e-10 | 14.218
-2.5558e-11 | 15.362 | -9.771e-10 | 14.918
-2.5476e-11 | 16.062 | -1.2048e-09 | 15.618
-2.5008e-11 | 16.762 | -8.4433e-10 | 16.318
-3.135e-11 | 17.462 | -8.1963e-10 | 17.018
-2.1479e-11 | 18.162 | -9.9328e-10 | 17.718
-3.2422e-11 | 18.862 | -7.4527e-10 | 18.419
-2.5252e-11 | 19.782 | -9.8285e-10 | 19.119
-2.316e-11 | 20.322 | -7.822e-10 | 19.819
-3.4733e-11 | 21.022 | -1.2025e-09 | 20.519
-3.1859e-11 | 21.942 | -1.0312e-09 | 21.218
-3.7187e-11 | 22.702 | -1.0339e-09 | 21.919
-3.8992e-11 | 23.463 | -1.1709e-09 | 22.619
-3.2846e-11 | 24.223 | -8.8564e-10 | 23.319
-3.4939e-11 | 24.983 | -4.1617e-10 | 24.019
-3.2257e-11 | 25.743 | -8.8224e-10 | 24.719
-3.3425e-11 | 26.523 | -8.7953e-10 | 25.419
-3.2581e-11 | 27.283 | -1.045e-09 | 26.119
-3.2562e-11 | 28.043 | -6.3054e-10 | 26.82
-3.2747e-11 | 28.803 | -9.188e-10 | 27.52
-2.4186e-11 | 29.563 | -9.1337e-10 | 28.22
-3.3711e-11 | 30.103 | -8.903e-10 | 28.92
-2.279e-11 | 31.023 | -7.7067e-10 | 29.619
-2.3556e-11 | 31.563 | -9.211e-10 | 30.32
-2.1947e-11 | 32.264 | -1.0345e-09 | 31.02
-2.0414e-11 | 32.964 | -1.0395e-09 | 31.72
-2.5337e-11 | 33.664 | -7.7421e-10 | 32.42
-3.2539e-11 | 34.364 | -1.0154e-09 | 33.12
-3.1912e-11 | 35.284 | -1.2847e-09 | 33.82
-3.3935e-11 | 36.044 | -7.1652e-10 | 34.52
-3.5752e-11 | 36.804 | -8.4817e-10 | 35.22
-2.0496e-11 | 37.564 | -7.6915e-10 | 35.92
-3.6157e-11 | 38.104 | -1.2144e-09 | 36.621
-3.7522e-11 | 39.024 | -1.028e-09 | 37.32
-3.8902e-11 | 39.784 | -9.7684e-10 | 38.02
-3.5907e-11 | 40.544 | -8.1084e-10 | 38.721
-3.5459e-11 | 41.304 | -9.3399e-10 | 39.42
-3.6209e-11 | 42.064 | -7.7961e-10 | 40.121
-3.9602e-11 | 42.825 | -1.1608e-09 | 40.821
-3.5949e-11 | 43.585 | -7.1896e-10 | 41.521
-3.898e-11 | 44.345 | -1.0078e-09 | 42.221
-2.2652e-11 | 45.105 | -1.0641e-09 | 42.921
-3.4578e-11 | 45.645 | -1.1051e-09 | 43.621
-2.4041e-11 | 46.565 | -8.2622e-10 | 44.321
-4.2869e-11 | 47.105 | -7.7055e-10 | 45.021
-3.7794e-11 | 48.025 | -9.1228e-10 | 45.721
-2.7952e-11 | 48.785 | -1.2302e-09 | 46.422
-2.2751e-11 | 49.326 | -7.6915e-10 | 47.122
-2.8657e-11 | 50.026 | -1.048e-09 | 47.821
-4.1932e-11 | 50.726 | -6.3709e-10 | 48.522
-2.4006e-11 | 51.645 | -9.008e-10 | 49.222
-3.4465e-11 | 52.186 | -1.1639e-09 | 49.922
-2.5955e-11 | 53.106 | -1.1706e-09 | 50.622
-2.3102e-11 | 53.646 | -1.0979e-09 | 51.322
-3.3019e-11 | 54.346 | -6.7004e-10 | 52.022
-3.496e-11 | 55.266 | -6.8868e-10 | 52.722
-2.9664e-11 | 56.026 | -8.9307e-10 | 53.422
-3.1912e-11 | 56.786 | -1.0748e-09 | 54.122
-3.7772e-11 | 57.546 | -1.031e-09 | 54.823
-3.664e-11 | 58.306 | -8.3021e-10 | 55.522
-3.4042e-11 | 59.066 | -1.0534e-09 | 56.222
-3.3265e-11 | 59.826 | -1.2736e-09 | 56.923
-3.191e-11 | 60.587 | -8.6753e-10 | 57.622
-3.1532e-11 | 61.346 | -7.3007e-10 | 58.322
-3.3211e-11 | 62.107 | -1.0254e-09 | 59.022
-3.2441e-11 | 62.867 | -9.2201e-10 | 59.723
-3.2056e-11 | 63.627 | -1.0323e-09 | 60.423
-3.2145e-11 | 64.387 | -1.0616e-09 | 61.123
-3.2749e-11 | 65.147 | -8.8292e-10 | 61.823
-2.587e-11 | 65.687 | -9.0761e-10 | 62.523
-2.8151e-11 | 66.387 | -9.4027e-10 | 63.223
-3.2124e-11 | 67.087 | -6.6766e-10 | 63.923
-2.2898e-11 | 67.787 | -6.3303e-10 | 64.623
-2.2655e-11 | 68.488 | -6.9439e-10 | 65.323
-3.6325e-11 | 69.187 | -1.0315e-09 | 66.024
-3.287e-11 | 70.108 | -9.599e-10 | 66.723
-3.522e-11 | 70.868 | -7.5481e-10 | 67.424
-4.1239e-11 | 71.628 | -1.0451e-09 | 68.123
-4.8988e-11 | 72.388 | -4.9361e-10 | 68.824
-3.2033e-11 | 73.147 | -7.7507e-10 | 69.524
-3.791e-11 | 73.908 | -8.8029e-10 | 70.224
-3.8579e-11 | 74.668 | -6.5986e-10 | 70.924
|  | -1.4049e-09 | 71.624
|  | -8.8305e-10 | 72.324
|  | -7.3078e-10 | 73.024
|  | -9.582e-10 | 73.724
|  | -8.3258e-10 | 74.425
|  | -9.1098e-10 | 75.125
|  | -8.9433e-10 | 75.825
|  | -7.993e-10 | 76.525
|  | -7.8678e-10 | 77.225
|  | -6.936e-10 | 77.925
|  | -8.1017e-10 | 78.625

## 680uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
-3.6006e-11 | 8.0255e-12 | -1.2491e-09 | 2.1142e-10
GEMs On |  | GEMs On
-3.6477e-11 | 0.0040002 | -1.6582e-09 | 0.0030003
-3.1143e-11 | 0.516 | -8.7648e-10 | 1.146
-2.975e-11 | 1.055 | -1.2975e-09 | 2.025
-2.7892e-11 | 1.755 | -1.3735e-09 | 2.686
-5.9672e-11 | 2.456 | -1.2271e-09 | 3.266
-3.5441e-11 | 3.155 | -1.3416e-09 | 3.966
-5.1273e-11 | 3.856 | -1.304e-09 | 4.666
-4.9875e-11 | 4.776 | -1.5514e-09 | 5.366
-2.6074e-11 | 5.536 | -8.8374e-10 | 6.066
-2.0455e-11 | 6.076 | -1.1733e-09 | 6.766
-4.9746e-11 | 6.776 | -1.4865e-09 | 7.466
-4.9053e-11 | 7.696 | -8.6058e-10 | 8.166
-5.0361e-11 | 8.456 | -1.5601e-09 | 8.866
-5.3416e-11 | 9.216 | -1.3827e-09 | 9.566
-5.1892e-11 | 9.977 | -1.3986e-09 | 10.486
-2.1815e-11 | 10.737 | -1.0102e-09 | 11.367
-2.8508e-11 | 11.276 | -9.801e-10 | 12.027
-2.2143e-11 | 11.977 | -1.0792e-09 | 12.607
-2.9813e-11 | 12.677 | -7.881e-10 | 13.307
-3.144e-11 | 13.376 | -1.0874e-09 | 14.007
-5.1509e-11 | 14.076 | -1.2576e-09 | 14.707
-2.762e-11 | 14.997 | -1.4241e-09 | 15.407
-2.4129e-11 | 15.537 | -1.3309e-09 | 16.327
-2.1641e-11 | 16.237 | -1.2796e-09 | 17.207
-2.9774e-11 | 16.937 | -9.9484e-10 | 17.867
-3.6319e-11 | 17.637 | -1.2112e-09 | 18.447
-4.3536e-11 | 18.337 | -1.0217e-09 | 19.148
-3.5305e-11 | 19.037 | -1.2071e-09 | 19.848
-2.7452e-11 | 19.737 | -1.1412e-09 | 20.548
-3.6525e-11 | 20.438 | -1.1182e-09 | 21.247
-4.0282e-11 | 21.138 | -1.1398e-09 | 21.948
-3.5019e-11 | 21.838 | -1.2092e-09 | 22.868
-3.9488e-11 | 22.538 | -1.4101e-09 | 23.528
-4.3257e-11 | 23.237 | -1.3533e-09 | 24.108
-4.1409e-11 | 23.939 | -1.4466e-09 | 25.028
-3.4956e-11 | 24.639 | -1.2575e-09 | 25.688
-3.4887e-11 | 25.338 | -1.2827e-09 | 26.268
-4.3902e-11 | 26.038 | -1.5359e-09 | 27.188
-3.9522e-11 | 26.738 | -1.379e-09 | 28.069
-4.0301e-11 | 27.438 | -1.0317e-09 | 28.728
-3.3893e-11 | 28.139 | -1.3963e-09 | 29.309
-3.5436e-11 | 28.838 | -9.8794e-10 | 30.229
-3.2993e-11 | 29.539 | -1.2865e-09 | 30.889
-3.7337e-11 | 30.239 | -1.255e-09 | 31.689
-4.3727e-11 | 30.939 | -1.3245e-09 | 32.349
-4.2496e-11 | 31.639 | -1.2702e-09 | 32.928
-3.5637e-11 | 32.339 | -1.3295e-09 | 33.849
-4.18e-11 | 33.038 | -1.4759e-09 | 34.509
-2.7394e-11 | 33.739 | -1.2815e-09 | 35.089
-2.8534e-11 | 34.439 | -1.214e-09 | 36.009
-2.8792e-11 | 35.139 | -1.1062e-09 | 36.669
-4.2267e-11 | 35.84 | -1.1391e-09 | 37.25
-4.5751e-11 | 36.539 | -9.3817e-10 | 37.95
-4.0822e-11 | 37.239 | -1.2846e-09 | 38.649
-3.6709e-11 | 37.94 | -1.2914e-09 | 39.35
-4.8098e-11 | 38.639 | -1.5067e-09 | 40.27
-3.1689e-11 | 39.34 | -1.1137e-09 | 40.93
-3.8844e-11 | 40.04 | -1.3324e-09 | 41.51
-4.0407e-11 | 40.74 | -1.6837e-09 | 42.21
-3.1685e-11 | 41.44 | -7.7781e-10 | 43.13
-3.309e-11 | 42.14 | -1.2946e-09 | 43.79
-3.7091e-11 | 42.84 | -1.1157e-09 | 44.59
-4.7094e-11 | 43.541 | -1.2995e-09 | 45.25
-3.9398e-11 | 44.241 | -8.9429e-10 | 46.05
-3.9251e-11 | 44.94 | -1.1797e-09 | 46.93
-4.019e-11 | 45.641 | -9.2948e-10 | 47.591
-4.2955e-11 | 46.341 | -1.4343e-09 | 48.17
-3.4355e-11 | 47.041 | -9.9484e-10 | 48.871
-3.9364e-11 | 47.74 | -1.1614e-09 | 49.791
-3.7131e-11 | 48.44 | -1.699e-09 | 50.45
-3.3308e-11 | 49.142 | -1.3442e-09 | 51.031
-4.498e-11 | 49.841 | -1.8081e-09 | 51.951
-3.6931e-11 | 50.541 | -1.3629e-09 | 52.611
-3.7351e-11 | 51.24 | -1.362e-09 | 53.191
-3.877e-11 | 51.941 | -1.4058e-09 | 53.891
-3.5871e-11 | 52.641 | -1.2359e-09 | 54.591
-3.6914e-11 | 53.342 | -1.1316e-09 | 55.292
-2.6782e-11 | 54.041 | -9.4083e-10 | 55.992
-3.3507e-11 | 54.741 | -1.2359e-09 | 56.912
-4.5038e-11 | 55.441 | -1.071e-09 | 57.812
-4.196e-11 | 56.141 | -1.051e-09 | 58.472
-3.7742e-11 | 56.841 | -8.556e-10 | 59.052
-4.023e-11 | 57.542 | -1.3533e-09 | 59.752
-3.1693e-11 | 58.242 | -1.2816e-09 | 60.452
-3.7733e-11 | 58.942 | -1.202e-09 | 61.152
-3.2232e-11 | 59.642 | -1.1808e-09 | 62.072
-2.3443e-11 | 60.342 | -1.3771e-09 | 62.732
-3.1424e-11 | 61.042 | -1.127e-09 | 63.532
-2.6968e-11 | 61.742 | -1.7173e-09 | 64.192
-3.609e-11 | 62.442 | -1.0859e-09 | 64.772
-3.2552e-11 | 63.142 | -1.4866e-09 | 65.472
-3.5459e-11 | 63.842 | -1.2033e-09 | 66.392
-3.8604e-11 | 64.542 | -1.2506e-09 | 67.273
-2.136e-11 | 65.243 | -1.3263e-09 | 67.932
-2.8856e-11 | 65.942 | -1.3299e-09 | 68.733
-2.7097e-11 | 66.643 | -1.1101e-09 | 69.613
-2.2381e-11 | 67.342 | -1.6368e-09 | 70.273
-2.4217e-11 | 68.043 | -1.1151e-09 | 70.853
-2.6294e-11 | 68.743 | -1.3807e-09 | 71.553
-3.0023e-11 | 69.443 | -1.1616e-09 | 72.253
-3.4258e-11 | 70.142 | -1.0905e-09 | 72.953
-3.2452e-11 | 70.843 | -1.1377e-09 | 73.653
-2.8784e-11 | 71.543 | -1.2517e-09 | 74.354
|  | -1.6615e-09 | 75.053
|  | -1.2049e-09 | 75.753
|  | -1.5796e-09 | 76.674

## 690uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
-4.7483e-11 | 1.5713e-11 | -1.9387e-09 | 4.0624e-10
GEMs On |  | GEMs On
-4.9756e-11 | 0.0030003 | -1.3667e-09 | 0.0030003
-6.3901e-11 | 0.218 | -1.6961e-09 | 0.918
-5.5558e-11 | 0.919 | -2.0898e-09 | 1.838
-5.3321e-11 | 1.619 | -1.2846e-09 | 2.378
-5.918e-11 | 2.319 | -2.086e-09 | 3.418
-4.9597e-11 | 3.019 | -1.8571e-09 | 4.178
-5.1379e-11 | 3.719 | -2.1148e-09 | 5.058
-4.567e-11 | 4.419 | -1.7909e-09 | 5.818
-4.7317e-11 | 5.119 | -1.1809e-09 | 6.698
-4.1378e-11 | 5.819 | -1.6029e-09 | 7.358
-4.556e-11 | 6.519 | -1.9518e-09 | 7.938
-5.0834e-11 | 7.219 | -1.2334e-09 | 8.858
-4.1847e-11 | 7.919 | -1.4606e-09 | 9.518
-3.2993e-11 | 8.619 | -1.9027e-09 | 10.098
-4.1349e-11 | 9.319 | -1.4267e-09 | 11.018
-4.1085e-11 | 10.02 | -2.1807e-09 | 11.899
-4.5419e-11 | 10.719 | -2.2687e-09 | 12.438
-6.4515e-11 | 11.42 | -2.3844e-09 | 13.359
-3.7338e-11 | 12.119 | -2.2063e-09 | 14.119
-4.6679e-11 | 12.82 | -2.8203e-09 | 14.659
-5.7152e-11 | 13.519 | -1.5658e-09 | 15.699
-6.389e-11 | 14.22 | -1.4766e-09 | 16.579
-7.0453e-11 | 14.92 | -1.5864e-09 | 17.239
-3.9658e-11 | 15.84 | -1.853e-09 | 18.039
-7.061e-11 | 16.38 | -2.058e-09 | 18.92
-6.9256e-11 | 17.3 | -2.1184e-09 | 19.48
-7.1061e-11 | 17.84 | -2.0625e-09 | 20.16
-6.6012e-11 | 18.54 | -2.3363e-09 | 21.08
-3.0567e-11 | 19.46 | -2.2911e-09 | 21.84
-6.8895e-11 | 20 | -1.5698e-09 | 22.6
-4.5097e-11 | 20.921 | -1.4205e-09 | 23.48
-5.7561e-11 | 21.46 | -1.4646e-09 | 24.359
-6.6892e-11 | 22.16 | -1.1091e-09 | 25.24
-6.6918e-11 | 23.081 | -2.1201e-09 | 26.12
-2.3938e-11 | 23.841 | -1.7931e-09 | 26.88
-6.4352e-11 | 24.381 | -2.0048e-09 | 27.76
-3.6504e-11 | 25.301 | -1.4029e-09 | 28.3
-5.223e-11 | 25.841 | -2.719e-09 | 29.12
-4.8055e-11 | 26.541 | -2.2352e-09 | 29.921
-3.7037e-11 | 27.241 | -1.9315e-09 | 30.681
-9.1129e-11 | 27.941 | -2.0515e-09 | 31.561
-6.7424e-11 | 28.641 | -1.5417e-09 | 32.321
-7.283e-11 | 29.342 | -2.4786e-09 | 33.201
-8.3543e-11 | 30.261 | -2.1092e-09 | 33.741
-2.8621e-11 | 30.802 | -1.0946e-09 | 34.441
-4.0753e-11 | 31.502 | -2.2283e-09 | 35.481
-6.6376e-11 | 32.202 | -2.2106e-09 | 36.361
-6.2415e-11 | 32.902 | -2.0238e-09 | 36.902
-7.0377e-11 | 33.822 | -2.2194e-09 | 37.822
-2.7727e-11 | 34.362 | -2.1926e-09 | 38.582
-7.5067e-11 | 35.062 | -1.888e-09 | 39.462
-2.1131e-11 | 35.762 | -1.9034e-09 | 40.342
-6.8726e-11 | 36.462 | -2.0934e-09 | 41.222
-3.8344e-11 | 37.382 | -1.4672e-09 | 42.102
-2.5454e-11 | 37.922 | -1.4393e-09 | 42.762
-4.2403e-11 | 38.623 | -1.558e-09 | 43.562
-4.1108e-11 | 39.323 | -2.2584e-09 | 44.442
-4.1833e-11 | 40.022 | -2.108e-09 | 44.982
-3.7983e-11 | 40.723 | -2.2433e-09 | 45.682
-2.5143e-11 | 41.423 | -1.967e-09 | 46.722
-3.2322e-11 | 42.123 | -2.0096e-09 | 47.602
-2.1876e-11 | 42.823 | -1.2846e-09 | 48.142
-2.5219e-11 | 43.523 | -2.3875e-09 | 49.182
-2.6955e-11 | 44.223 | -2.0917e-09 | 49.943
-3.1474e-11 | 44.923 | -2.117e-09 | 50.823
-3.7516e-11 | 45.623 | -2.1457e-09 | 51.703
-3.0179e-11 | 46.323 | -2.2677e-09 | 52.583
-3.4848e-11 | 47.023 | -2.4885e-09 | 53.123
-2.9189e-11 | 47.723 | -1.7504e-09 | 54.043
-3.7018e-11 | 48.424 | -2.0648e-09 | 54.923
-4.5323e-11 | 49.124 | -1.2939e-09 | 55.803
-4.4401e-11 | 49.824 | -1.8967e-09 | 56.684
-4.8692e-11 | 50.524 | -1.3454e-09 | 57.564
-5.1612e-11 | 51.224 | -2.4859e-09 | 58.444
-5.1794e-11 | 51.924 | -1.7657e-09 | 59.203
-5.7846e-11 | 52.624 | -2.1351e-09 | 59.864
-5.5215e-11 | 53.324 | -1.5779e-09 | 60.664
-5.2659e-11 | 54.024 | -2.0674e-09 | 61.544
-4.2437e-11 | 54.724 | -1.3279e-09 | 62.084
-5.4671e-11 | 55.424 | -1.6953e-09 | 62.904
-5.1079e-11 | 56.125 | -2.1256e-09 | 63.704
-4.4027e-11 | 56.825 | -1.8073e-09 | 64.584
-5.0482e-11 | 57.524 | -1.7447e-09 | 65.465
-4.0842e-11 | 58.225 | -2.307e-09 | 66.344
-3.1643e-11 | 58.925 | -2.4042e-09 | 66.885
-4.886e-11 | 59.625 | -1.9254e-09 | 67.585
-4.9107e-11 | 60.325 | -2.0781e-09 | 68.625
-3.8818e-11 | 61.025 | -1.6993e-09 | 69.165
-3.8016e-11 | 61.725 | -2.7117e-09 | 70.205
-3.8699e-11 | 62.425 | -2.1247e-09 | 70.745
-4.3815e-11 | 63.125 | -2.0101e-09 | 71.445
-4.6809e-11 | 63.825 | -1.8467e-09 | 72.485
-2.9252e-11 | 64.525 | -1.8055e-09 | 73.365
-3.7651e-11 | 65.225 | -1.6496e-09 | 74.025
-2.6405e-11 | 65.925 | -3.104e-09 | 74.606
-2.8418e-11 | 66.626 | -1.7297e-09 | 75.406
-2.3104e-11 | 67.325 | -1.2452e-09 | 76.346
-7.7308e-11 | 68.026 | -2.3426e-09 | 77.226
-2.0707e-11 | 68.946 | -2.4073e-09 | 77.766
-6.4397e-11 | 69.486 | -2.1725e-09 | 78.466
-6.1092e-11 | 70.406 | -2.3233e-09 | 79.166
-7.3595e-11 | 70.946 | -2.0832e-09 | 79.866
-4.2097e-11 | 71.866 | -1.5506e-09 | 80.786
-2.1557e-11 | 72.406 | -2.8947e-09 | 81.666
|  | -2.1727e-09 | 82.206

## 700uA
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
-6.3044e-11 | 1.0258e-11 | -2.6209e-09 | 3.753e-10
GEMs On |  | GEMs On
-5.8251e-11 | 0.0040002 | -3.1397e-09 | 0.0040002
-5.4161e-11 | 0.219 | -3.032e-09 | 1.024
-4.9438e-11 | 0.92 | -2.6522e-09 | 1.624
-4.6421e-11 | 1.62 | -2.1951e-09 | 2.324
-4.6088e-11 | 2.32 | -2.6911e-09 | 3.024
-5.2285e-11 | 3.02 | -2.9943e-09 | 3.724
-4.9102e-11 | 3.72 | -3.2657e-09 | 4.424
-6.3957e-11 | 4.42 | -2.0029e-09 | 5.124
-6.2637e-11 | 5.12 | -2.4527e-09 | 5.824
-5.1706e-11 | 5.82 | -2.4733e-09 | 6.745
-6.0965e-11 | 6.52 | -2.3058e-09 | 7.285
-7.9402e-11 | 7.22 | -3.3871e-09 | 7.985
-6.6507e-11 | 7.92 | -2.459e-09 | 8.685
-4.6554e-11 | 8.62 | -2.3992e-09 | 9.605
-5.7847e-11 | 9.32 | -2.6016e-09 | 10.146
-5.9847e-11 | 10.021 | -2.1672e-09 | 10.845
-5.1365e-11 | 10.72 | -2.2616e-09 | 11.545
-5.7755e-11 | 11.421 | -2.6071e-09 | 12.245
-5.4078e-11 | 12.121 | -3.2434e-09 | 12.945
-3.997e-11 | 12.82 | -2.7333e-09 | 13.646
-6.4197e-11 | 13.521 | -2.7934e-09 | 14.345
-3.5546e-11 | 14.221 | -3.0644e-09 | 15.266
-6.5779e-11 | 14.921 | -2.0471e-09 | 15.806
-7.1325e-11 | 15.621 | -2.373e-09 | 16.505
-8.6509e-11 | 16.321 | -2.8122e-09 | 17.206
-6.7195e-11 | 17.021 | -3.0985e-09 | 17.906
-6.8501e-11 | 17.721 | -2.2025e-09 | 18.606
-6.2348e-11 | 18.421 | -2.0764e-09 | 19.306
-6.3227e-11 | 19.121 | -2.1636e-09 | 20.006
-5.0196e-11 | 19.822 | -3.0105e-09 | 20.706
-6.2731e-11 | 20.522 | -3.2795e-09 | 21.407
-5.7741e-11 | 21.222 | -2.94e-09 | 22.107
-5.6611e-11 | 21.922 | -2.5716e-09 | 22.806
-5.1924e-11 | 22.622 | -2.6853e-09 | 23.506
-5.7468e-11 | 23.322 | -2.6185e-09 | 24.206
-6.4839e-11 | 24.022 | -2.5479e-09 | 24.906
-6.0496e-11 | 24.722 | -3.21e-09 | 25.607
-6.8114e-11 | 25.422 | -2.4672e-09 | 26.306
-6.2675e-11 | 26.122 | -3.0618e-09 | 27.007
-7.3047e-11 | 26.822 | -2.7678e-09 | 27.707
-6.4903e-11 | 27.522 | -2.8505e-09 | 28.407
-6.1852e-11 | 28.222 | -2.2399e-09 | 29.107
-6.7502e-11 | 28.923 | -2.1499e-09 | 29.807
-6.3911e-11 | 29.623 | -3.1568e-09 | 30.507
-6.4733e-11 | 30.323 | -2.1688e-09 | 31.207
-5.9135e-11 | 31.023 | -2.6548e-09 | 31.907
-7.1132e-11 | 31.723 | -2.6813e-09 | 32.608
-5.5542e-11 | 32.423 | -2.7772e-09 | 33.308
-5.6456e-11 | 33.123 | -2.259e-09 | 34.008
-5.6244e-11 | 33.823 | -2.6351e-09 | 34.707
-5.6057e-11 | 34.523 | -2.9651e-09 | 35.407
-6.4758e-11 | 35.223 | -2.3245e-09 | 36.108
-8.9079e-11 | 35.923 | -2.9652e-09 | 36.808
-7.3131e-11 | 36.623 | -2.609e-09 | 37.508
-7.2598e-11 | 37.323 | -2.3524e-09 | 38.428
-6.9786e-11 | 38.023 | -2.1731e-09 | 38.968
-5.1169e-11 | 38.723 | -2.5415e-09 | 39.668
-7.4439e-11 | 39.424 | -2.4879e-09 | 40.588
-5.5205e-11 | 40.124 | -2.7337e-09 | 41.128
-6.0945e-11 | 40.824 | -3.4976e-09 | 41.828
-5.9711e-11 | 41.524 | -2.1388e-09 | 42.528
-5.1638e-11 | 42.224 | -3.0004e-09 | 43.229
-7.0448e-11 | 42.924 | -2.8607e-09 | 44.149
-5.5696e-11 | 43.624 | -2.3747e-09 | 44.708
-6.3912e-11 | 44.324 | -2.3652e-09 | 45.409
-6.21e-11 | 45.024 | -2.6861e-09 | 46.309
-6.7371e-11 | 45.724 | -2.1861e-09 | 46.849
-6.9533e-11 | 46.424 | -2.5681e-09 | 47.549
-6.7207e-11 | 47.124 | -2.0943e-09 | 48.249
-8.2222e-11 | 47.825 | -3.1923e-09 | 48.949
-6.885e-11 | 48.525 | -2.8972e-09 | 49.649
-7.3478e-11 | 49.225 | -3.2493e-09 | 50.349
-5.5059e-11 | 49.925 | -2.5346e-09 | 51.05
-6.6133e-11 | 50.625 | -2.3986e-09 | 51.749
-6.1795e-11 | 51.325 | -2.1346e-09 | 52.449
-5.2961e-11 | 52.025 | -2.3822e-09 | 53.489
-5.4597e-11 | 52.725 | -2.399e-09 | 54.029
-5.5148e-11 | 53.425 | -2.4081e-09 | 54.73
-5.6256e-11 | 54.125 | -3.222e-09 | 55.77
-5.9708e-11 | 54.825 | -2.8134e-09 | 56.53
-6.4476e-11 | 55.526 | -3.3646e-09 | 57.31
-7.2377e-11 | 56.225 | -2.4957e-09 | 58.07
-6.3538e-11 | 56.925 | -2.33e-09 | 58.61
-5.9772e-11 | 57.625 | -2.8607e-09 | 59.31
-7.2855e-11 | 58.326 | -2.4431e-09 | 60.01
-7.1838e-11 | 59.025 | -2.5027e-09 | 60.711
-7.6862e-11 | 59.726 | -3.4069e-09 | 61.41
-7.6765e-11 | 60.426 | -2.4922e-09 | 62.111
-6.2309e-11 | 61.126 | -2.6103e-09 | 62.811
-6.1365e-11 | 61.826 | -2.729e-09 | 63.511
-6.7939e-11 | 62.526 | -3.1132e-09 | 64.211
-5.7909e-11 | 63.226 | -2.5268e-09 | 64.911
-1.0473e-10 | 63.926 | -2.4106e-09 | 65.611
-5.0201e-11 | 64.626 | -2.7213e-09 | 66.311
-6.4452e-11 | 65.326 | -2.4171e-09 | 67.011
-6.4983e-11 | 66.027 | -2.1999e-09 | 67.711
-7.3321e-11 | 66.727 | -2.4099e-09 | 68.411
-7.0412e-11 | 67.427 | -2.0713e-09 | 69.112
-7.2261e-11 | 68.127 | -2.1275e-09 | 69.812
-7.5017e-11 | 68.827 | -3.0018e-09 | 70.512
-7.7585e-11 | 69.527 | -3.0081e-09 | 71.211
-6.8292e-11 | 70.227 | -2.0065e-09 | 71.912
|  | -2.4796e-09 | 72.611
|  | -2.3835e-09 | 73.312
|  | -2.096e-09 | 74.232

## 710uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 720uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 730uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 740uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 750uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 760uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 770uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 780uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 790uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 800uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On

## 810uA (hidden)
Source Off |  | Source On
Average | STDEV | Average | STDEV
(uA) | (uA) | (uA) | (uA)
#DIV/0! | #DIV/0! | #DIV/0! | #DIV/0!
GEMs On |  | GEMs On